## Sheet1
Caulk x 2 | 9.56 | https://www.homedepot.com/p/DAP-10-1-oz-Ultra-Clear-All-Purpose-Waterproof-Sealant-18388/306389477
Caulk gun | 4.78 | https://www.homedepot.com/p/Anvil-10-oz-Drip-Free-Smooth-Rod-Caulk-Gun-HD-109T1/315070926
Garage door weather stripping | 16.78 | https://www.homedepot.com/p/Clopay-18-ft-Replacement-Garage-Door-Bottom-Weatherseal-4139067/203921465
AC unit pipe foam | 7.98 | https://www.lowes.com/pd/K-Flex-TITAN-1-2-WALL-X-5-8-ID-X-6/5013942899
Hose bib buddy x 2 | 23.98 | https://www.amazon.com/Hose-Bib-Buddy-Mounting-Removing/dp/B087J3LKYD/ref=sr_1_1_sspa?crid=1MD97JX5OI0UO&keywords=hose+bib+buddy&qid=1694300499&sprefix=hose+bib+budd%2Caps%2C246&sr=8-1-spons&sp_csd=d2lkZ2V0TmFtZT1zcF9hdGY&psc=1
Rain Gutters | 1035 | https://www.google.com/localservices/prolist?g2lbs=AP8S6ENaandz2iKy9XrGEkRY3_sqA9EPbMN234c8fEx6WG3dDeYk-7RH5AK5gJUZGBOcn3vyGKrKHjpMqvjuKfjsby9IZWzhKrv4EbISk92FunPtoYmG0FQ%3D&hl=en-US&gl=us&ssta=1&q=st.%20george%20rain%20gutter%20installation&oq=st.%20george%20rain%20gutter%20installation&slp=MgA6HENoTUlvTERMazhhZWdRTVZYY3pDQkIwSVR3QThSAggCYAB6rANDaU56ZEM0Z1oyVnZjbWRsSUhKaGFXNGdaM1YwZEdWeUlHbHVjM1JoYkd4aGRHbHZia2l6czZIajZMQ0FnQWhhTWhBQ0VBTVFCQmdBR0FFWUF4Z0VJaUp6ZENCblpXOXlaMlVnY21GcGJpQm5kWFIwWlhJZ2FXNXpkR0ZzYkdGMGFXOXVlZ3BUZEM0Z1IyVnZjbWRsa2dFWFozVjBkR1Z5WDJOc1pXRnVhVzVuWDNObGNuWnBZMldhQVNSRGFHUkVVMVZvVGsxSE9XNVRNRlpLVVRCR2JsTlZVakZPUld3MVVUTkdRbEpTUVVLcUFZb0JDZ292YlM4d01qWmtiV1pyQ2drdmJTOHdNVEJvTkdvS0NDOXRMekEyYldJeEVBRXFIQ0lZY21GcGJpQm5kWFIwWlhJZ2FXNXpkR0ZzYkdGMGFXOXVLQUF5SHhBQklodXBrYTNvUE1OcFpJMDg4OFFYT0xFTWtpU0FocmR1akt4QmU5c3lKaEFDSWlKemRDQm5aVzl5WjJVZ2NtRnBiaUJuZFhSMFpYSWdhVzV6ZEdGc2JHRjBhVzl1NEFFQZIBhQIKDS9nLzExanY2NmpxZm0KDS9nLzExZjdmX3kzOWYKCy9nLzF0Y3l4cTZsCg0vZy8xMWh6MW5xZm5kCg0vZy8xMWh5ajkwMXo4Cg0vZy8xMXMwc2tremhoCgwvZy8xMmhrZ3JtNXEKDS9nLzExdHdxM21fMWoKDS9nLzExZjQwNTQ2NXcKDC9nLzExOXRubThwcgoNL2cvMTFtdGQ5Z2dkdwoLL2cvMXRkNzZ2X3AKDS9nLzExZ3k0cnN5Y3YKDS9nLzExcDlucmw3eWIKDS9nLzExcThjNDQ1MHoKDS9nLzExbGxzNF94dF8KDS9nLzExcHowa3ZyMDkSBBICCAESBAoCCAE%3D&src=2&spp=Cg0vZy8xMWp2NjZqcWZtOtwCV2pJUUFoQURFQVFZQUJnQkdBTVlCQ0lpYzNRZ1oyVnZjbWRsSUhKaGFXNGdaM1YwZEdWeUlHbHVjM1JoYkd4aGRHbHZicElCRjJkMWRIUmxjbDlqYkdWaGJtbHVaMTl6WlhKMmFXTmxtZ0VrUTJoa1JGTlZhRTVOUnpsdVV6QldTbEV3Um01VFZWSXhUa1ZzTlZFelJrSlNVa0ZDcWdHS0FRb0tMMjB2TURJMlpHMW1hd29KTDIwdk1ERXdhRFJxQ2dndmJTOHdObTFpTVJBQktod2lHSEpoYVc0Z1ozVjBkR1Z5SUdsdWMzUmhiR3hoZEdsdmJpZ0FNaDhRQVNJYnFaR3Q2RHpEYVdTTlBQUEVGeml4REpJa2dJYTNib3lzUVh2Yk1pWVFBaUlpYzNRZ1oyVnZjbWRsSUhKaGFXNGdaM1YwZEdWeUlHbHVjM1JoYkd4aGRHbHZiZz09&serdesk=1&lrlstt=1694297593137&ved=2ahUKEwig3L6Txp6BAxWCMUQIHWFrBoYQvS56BAgXEAE&scp=ChxnY2lkOmd1dHRlcl9jbGVhbmluZ19zZXJ2aWNlEjgSEgnlOUmY0ETKgBEeHKH48gcXUyIKU3QuIEdlb3JnZSoUDbu_DRYV4V1CvB1qvy0WJeDNXLwwABoYcmFpbiBndXR0ZXIgaW5zdGFsbGF0aW9uIiNzdC4gZ2VvcmdlIHJhaW4gZ3V0dGVyIGluc3RhbGxhdGlvbioXR3V0dGVyIGNsZWFuaW5nIHNlcnZpY2U6UAoNL2cvMTFoNTdfejRidxIfam9iX3R5cGVfaWQ6Z3V0dGVyX2luc3RhbGxhdGlvbhoTR3V0dGVyIGluc3RhbGxhdGlvbiICZW4wAT01Xno_#ts=5
Major Stucco Repair | 1000
HVAC forced air unit and air duct service needed | $199-499 | https://goclimatecontrol.com/air-duct-cleaning/?gclid=Cj0KCQjwmICoBhDxARIsABXkXlI812mQks1kGZyjazbZPt9xZiFgzJPk_fv5coFE_WxAgTuIDC2UzB4aAk4EEALw_wcB | called them
Toilet repair + faucets in guest bathroom |  | Joe the plumber came and did walk through for each of these items
Electrician: GFCI protection and neutral/ground circuitry
window screens | 230 + 50 per window | Pau called Lowe's

## Sheet2
External stucco contusion with siding insulation exposed | 500
Reset toilet | 300
Fix bath faucet | 300
Bathroom sink draims (2) | 300
Garbage disposal | 350
Hose bib repair (2) | 300
Window screens (5) | 430
Rain gutters (200 ft) | 1035
HVAC service | 300
Water heater | 1200
Total | 5015